## START
Contact Information (for questions about the data study purposes, collection or analytical methods)
<Replace with Contact Name>
<Replace with Contact Phone Number>
<Replace with Contact Email Address>
<Replace with Agency name>
Study and Study Reference Questions
Is there documentation or a report for the data available electronically? Please enter filenames and submit with the data:
Has the study been published? If so, please provide reference citation:
Station Questions
Enter the coordinate system, projection, and datum:
How reliable are the provided coordinates? Any missing? Any estimated coordinates (e.g., estimated from a map or report)?
Sediment Sample Questions
Sampling Methods
How were the samples collected (Van Veen grab, core, etc.)?
Were homogenized subsamples or composites collected from the same sampling device? If so, how are they identified?
Were multiple samples collected at the same station? How are field replicates identified?
Are sediment chemistry data reported in dry weight or wet weight? If wet weight, are moisture or solids data included?
Was total organic carbon measured on each sample and included in the chemistry worksheet?
Was grain size measured and included? If grain size size classes are reported, what scale was used (e.g., Wentworth, ASCE, etc.)?
Water Sample Questions
Sampling Methods
How were the samples collected (CTD, pump system, etc.)?
Were samples filtered or otherwise processed?
Were multiple samples collected at the same station? How are field replicates identified?
What was the naming convention used for composite or post-processed samples?
Tissue Sample Questions
Sampling Methods
How were the samples collected (trawl, line-caught, etc.)?
Is data for species, tissue type, lengths, weights, and sex of the individuals available and included?
How were the tissue samples prepared (skinned, depurated, etc.)?
Were homogenized subsamples or composites generated? If so, how are they identified?
Were multiple analyses conducted on the same specimen (e.g., fillet and bile)? If so, how are they identified?
Are tissue chemistry data reported in dry weight or wet weight? If dry weight, are moisture or solids data included?
Were %lipids measured on each sample and include in the chemistry worksheet?
Analytical Methods
Were there analytical laboratory replicates?, If so, how are they identified in the template?
Were any analytes measured using more than one method? If so, which ones?
Are there totals provided (e.g., total PAHs, PCBs, etc.)? If so, please explain how these totals were derived:
Are detection and reporting limits provided with the data? Please describe.
Were data validated? At what level? Are laboratory and validation qualifier definitions available and included?
Bioassay/Toxicity Sample Questions
Describe the tests and test methods used:
Describe how the toxic response was measured, and how toxicity significance was established:
Describe any problems that occurred with the test or control samples that the user should be aware of:
Were reference data collected and identified? Are negative control data included?
Were replicate data available and included?
Additional Notes
Additional details about the data (see Documentation page).
NOAA Assessment and Restoration Division
DIVER Data Submission Template
For Chemistry/Toxicity (ChemTox) Data
Excel Version 4.1
Updated: November 2020
This is the spreadsheet template to be used when submitting sediment, tissue, and water chemistry or bioassay data. For questions about how to fill out this spreadsheet, contact Benjamin Shorr at Benjamin.Shorr@noaa.gov or 206.526.4654.
See detailed guidance in the companion file NOAA_Templates_Guidance_20201104.xlsx.
General Information
This worksheet is intended only for sediment, water, oil, tar, or tissue chemistry (only field data, no laboratory QC data), or bioassay data.
A study is defined as a set of samples collected within a year for a single purpose (monitoring, RI/FS, etc.).
A 2-character code (your choice) must be used to distinguish an individual Study (with a unique Study Name).
The worksheets with blue tabs are to be populated when submitting data; worksheets with light blue tabs are only populated if this information is available; worksheets with orange tabs indicate lookup lists or reference information.
All fields in these worksheets are text and should remain as text.
Do not change the content of the first two rows of each worksheet (do not rename or remove the columns).
Fields highlighted in orange indicate valid values required. Valid values can be found in the ValidValues tab.
Do not rename or move the worksheets in the template file.
Do not use leading zeros in the identifier codes for StudyID, Station, and Sample.
The StationXCoords worksheet is optional and can be used if multiple coordinates represent a particular sample or station. For example, if a target station list was defined in sampling plan, or if polygons or multi-point lines were sampled/collected (see Guidance file for information for populating this worksheet.
After completing the Template file, use the Template Tester to perform a series of checks to ensure the data is prepared for ingest to the DIVER system.
Instructions for this Worksheet
Please fill out as much of the following narrative questions as possible. In this worksheet, you may have responses that are larger than the box shown. For, simple statement entries, type your response and adjust the row height. You may also insert new rows below the text entry box if necessary for longer responses.
To include other narrative information about the study, populate the StudyNoteCodes tab with relevant/applicable codes from the ValidConvNote tab. This information will be compiled into a standardized meta-data format in the DIVER datamanagement system.
Instructions for the Qualifiers Worksheet
Each row in the Qualifiers worksheet must be for individual qualifier codes (e.g., U), NOT combinations of multiple codes (e.g., UJ).

## Field Definitions
Table | Field | Description | Additional Comments | DefaultEntry | KeyField | Required | Valid Value?
Study | StudyID | Study identifier. Do not use leading zeros in this identifier. |  |  | X | Yes
Study | Study name | Short name of study |  |  |  | Yes
Study | Contact | Contact source for data |  |  |  | Yes
Study | Data Source | Data source if from another database, examples: GLSed, St Louis AOC, NYSDEC, etc. | See dicValidValues |  |  | Yes | Yes
Study | Year_pub | Year of publication | If no document is available, enter the last year of sampling. |  |  | Yes
Study | Authors | Authors (or data source if not published) |  | Unknown |  | Yes
Study | Title | Title, if published |  | Unknown |  | Yes
Study | Source | Organization which published report or name of journal, volume/issue and page numbers | Required if published data.
Study | FileName | File name of document |  | Enter Not Available if no associated files |  | Yes
Study | Preferred | Preferred reference for the study. If >1 reference, the reference that best describes the study should have Preferred=1. Other references should have 2, 3, 4, etc entries. |  | 1 | X | Yes
StudyNoteCodes | StudyID | Study identifier |  |  | X | Yes
StudyNoteCodes | SNCode | SNCodes are associated with standard Study Note phrases contained in the dicConvNote table. |  |  | X | Yes
Station | StudyID | Study identifier |  |  | X | Yes
Station | Station | Station identifier. Do not use leading zeros in this identifier. |  |  | X | Yes
Station | Station description | Station location description
Station | Area | Field used to identify sub-watershed areas
Station | Latitude | Latitude in decimal degrees, NAD83 | NAD83 datum is preferred | Enter 0 if unknown |  | Yes
Station | Longitude | Longitude in decimal degrees, NAD83 | NAD83 datum is preferred | Enter 0 if unknown |  | Yes
Station | Coords Established | Method of establishing coordinates. | See dicValidValues |  |  | Yes | Yes
Station | Hdatum | Horizontal datum | See dicValidValues; NAD83 is preferred |  |  | Yes | Yes
Station | Vdatum | Water column vertical datum | See dicValidValues; for soil/sediment describe 'top' (example: sediment/water interface). For water, standard is MLLW. |  |  | Yes | Yes
Station | Original StationID | Original Identifier for the set of coordinates
Station | Attribute Name | Station attribute information (e.g., river mile, reach, facility, stream code, location type, surface elevation). Must be <10 characters and begin with a character. |  | Null
Station | Attribute Value | Station attribute value |  | Null
Station | Attribute Unit | Station attribute units |  | Null
Station | Comments | Additional comments about station
StationXCoords | StudyID | Study identifier |  |  | X | Yes
StationXCoords | Station | Station or site identifier. Do not use leading zeros in this identifier. Must match Station in Station and SampleMaster worksheets. |  |  | X | Yes
StationXCoords | Sample | Unique identifier for a sample. Do not use leading zeros in this identifier. If Record Type = Station (i.e., extra coordinates are associated with a station) then Sample field should be null; if Record Type = Sample (i.e., extra coordinates are associated with a sample) then Sample field must be populated and must match Sample in SampleMaster worksheet. | Field replicates should have distinct SampleIDs (add a "D" suffix to the Sample ID; e.g., Samp01D). |  | X | Yes
StationXCoords | Field ID | Sample Identifier as reported in the source electronic data. Must match Field ID in a_samplemaster. The entries in this field should allow a linkage back to the source electronic data. | May be up to 50 characters. |  |  | Yes
StationXCoords | Record Type | Specifies type record associated with extra coordinates. Full list found in ValidValues tab. |  |  |  | Yes | Yes
StationXCoords | Station Type | Description of type of extra coordinate set. | See dicValidValues; For examples on how to enter extra coordinates refer to the form: Ex_a_stationXcoord |  |  | Yes | Yes
StationXCoords | Original Xtra StationID | Original Identifier for the set of coordinates
StationXCoords | Hdatum | Geographic coordinate system.
StationXCoords | Xtra Latitude | Latitude in decimal degrees, NAD83 | NAD83 datum is preferred | Enter 0 if unknown |  | Yes
StationXCoords | Xtra Longitude | Longitude in decimal degrees, NAD83 | NAD83 datum is preferred | Enter 0 if unknown |  | Yes
StationXCoords | Geometry Type | Point, Line, Polygon. Full list found in ValidValues tab. |  |  |  | Yes | Yes
StationXCoords | Location Geometry | If data provider can provide location geometry information from shapefile [e.g., linestring (-83.49000 29.000, -83.4800 29.001)].
StationXCoords | Geographic File Information | Provide link to external shapefile or other geographic information. If uploaded to DIVER file collection, please provide file name.
StationXCoords | Comments | Additional comments about coordinate detail
Samplemaster | StudyID | Study identifier |  |  | X | Yes
Samplemaster | Station | Station identifier. Do not use leading zeros in this identifier. |  |  | X | Yes
Samplemaster | Sample | Sample identifier. Do not use leading zeros in this identifier. | Field replicates should have distinct SampleIDs (add a "D" suffix to the Sample ID; e.g., Samp01D). |  | X | Yes
Samplemaster | Field ID | Sample Identifier as reported in the source electronic data. Must match Field ID in Edd. The entries in this field should allow a linkage back to the source electronic data. | May be up to 50 characters. |  |  | Yes
Samplemaster | Matrix | Matrix of analyzed sample. See dicValidValues. | See dicValidValues |  |  | Yes | Yes
Samplemaster | Sample Group | Identifier that groups related samples. Populated with sample root or other nomenclature that identifies related samples. |  | Leave null if sample grouping is not necessary
Samplemaster | Sample Collection Date (YYYYMMDD) | Date sample was collected expressed as YYYYMMDD. If only sample year is known enter YYYY0000 (e.g., 19850000). |  | Enter -9 as a default entry. |  | Yes
Samplemaster | Sample Collection Time | Time sample was collected expressed as HH:MM, based on 24 hour clock | Preferred standard is local time | Enter -9 if unknown
Samplemaster | Collection Type | Sample collection method. General collection type rather than specific method reference (e.g., grab, electroshock, trawl) | See dicValidValues |  |  | Yes | Yes
Samplemaster | Upper Collection Depth | Upper collection depth of sample | Surface sample (sediment or water) will have upper depth of 0. | Enter -9 for tissue samples (or if unknown) |  | Yes
Samplemaster | Lower Collection Depth | Lower collection depth of sample |  | Enter -9 for tissue samples (or if unknown) |  | Yes
Samplemaster | Collection Depth Units | Unit of measurement for Upper and Lower Collection Depth |  | Enter -9 for tissue samples (or if unknown) |  | Yes
Samplemaster | Sample Position | Text description of sample collection position. | Examples: surface, floating, bottom, etc. This is a field to store depth information that cannot be quantified.
Samplemaster | Depth Ref Point | Depth "zero" reference point (e.g., sed-water interface) | See dicValidValues |  |  | Yes | Yes
Samplemaster | Sample Type Code | Code for sample type. | See dicValidValues |  |  | Yes | Yes
Samplemaster | Water Depth | Water depth at station where samples were collected. Note: water depth is of water body, not of collection. | If water depth is recorded, time of day should be reported. | Enter -9 if unknown
Samplemaster | Water Depth Unit | Water Depth unit |  | Enter -9 if unknown
Samplemaster | Sample Attribute Name | Sample attribute information (e.g., NYTagNo). Must be <10 characters and begin with a character. |  | Null
Samplemaster | Sample Attribute Value | Sample attribute value |  | Null
Samplemaster | Sample Attribute Unit | Sample attribute units |  | Null
Samplemaster | Composite StationID | Station identifier for a sub-sample included in a composite sample; required when Sample Type Code = PART | For examples on how to enter composite and split samples, refer to the forms: Ex_CompSplit_a_samplemaster, Ex_CompSplit_a_samptiss and Ex_CompSplit_a_station | Enter -9 if not applicable
Samplemaster | Composite SampleID | Sample identifier for a sub-sample that was processed into a composite sample; required when Sample Type Code = PART | For examples on how to enter composite and split samples, refer to the forms: Ex_CompSplit_a_samplemaster, Ex_CompSplit_a_samptiss and Ex_CompSplit_a_station | Enter -9 if not applicable
Samplemaster | Number in composite | Number of organisms in composite sample. |  | Enter -999 if not a composite |  | Yes
Samplemaster | Associated Parts (Y/N) | For composite samples, indicate Y if there are associated PART or PANA samples. |  | N |  | Yes | Yes
Samplemaster | Notes | Additional comments
Samptiss | StudyID | Study identifier | It is necessary to have a matching record in a_samplemaster for each record in a_samptiss (even if the Sample Type Code = "PART"). |  | X | Yes
Samptiss | Station | Station identifier linked to a_samplemaster table. | It is necessary to have a matching record in a_samplemaster for each record in a_samptiss (even if the Sample Type Code = "PART"). |  | X | Yes
Samptiss | Sample | Sample identifier linked to a_samplemaster table. | Field replicates should have distinct SampleIDs (add a "D" suffix to the Sample ID; e.g., Samp01D). It is necessary to have a matching record in a_samplemaster for each record in a_samptiss (even if the Sample Type Code = "PART"). |  | X | Yes
Samptiss | Field ID | Sample Identifier as reported in the source electronic data. Must match Field ID in a_samplemaster. The entries in this field should allow a linkage back to the source electronic data. | May be up to 50 characters. |  |  | Yes
Samptiss | Species Common | Common name of organism collected. Recommend using IT IS or NaturServe. |  | Enter Unknown if unknown |  | Yes
Samptiss | Species Scientific | Scientific name (genus and species) of organism collected. Recommend using IT IS or NaturServe. |  | Leave null if information is unavailable
Samptiss | Lowest Taxa Level | Indicates the lowest taxonomic level reported, for Analyses involving organisms. | See dicValidValues |  |  | Yes | Yes
Samptiss | Tissue | Tissue type (e.g., whole body, liver, etc.). Enter NA for wrack |  | Enter Unknown if unknown |  | Yes
Samptiss | Life History stage | Code to describe life stage of organism collected (e.g., "A"=adult; "J"=juvenile). | See dicValidValues |  |  | Yes | Yes
Samptiss | Length(cm) | Length of organism in centimeters, if available. For a composite sample, enter mean length |  | Enter -9 if unknown
Samptiss | Weight(g) | Weight of organism in grams, if available. For a composite sample, enter total weight |  | Enter -9 if unknown
Samptiss | Sex | Sex; enter "M" (male), "F" (female) | See dicValidValues |  |  | Yes | Yes
Samptiss | Age(yrs) | Age, in years, if available |  | Enter -9 if unknown
Samptiss | Notes | Additional comments
Edd | StudyID | Study identifier |  |  | X | Yes
Edd | Station | Station identifier. Do not use leading zeros in this identifier. |  |  | X | Yes
Edd | Sample | Sample identifier. Do not use leading zeros in this identifier. | Field replicates should have distinct SampleIDs (add a "D" suffix to the Sample ID; e.g., Samp01D). |  | X | Yes
Edd | Lab Rep | Laboratory replicate identifier, if there are sub-samples generated in the lab from one field-collected sample (must be 5 characters or less). | See General Notes for more information. | If only one replicate, use default value of 1 | X | Yes
Edd | Field ID | Sample Identifier as reported in the source electronic data. Must match Field ID in a_samplemaster. The entries in this field should allow a linkage back to the source electronic data. | May be up to 50 characters. |  |  | Yes
Edd | QCBatch | QCbatch is used to associate the sample results with the QC samples reported with it. Frequently the same as the sample delivery group.
Edd | Project name | Name given to the project as designated on the chain of custody
Edd | Sample delivery group | Identifier for the sample delivery group or quality control batch |  |  |  | Yes
Edd | LabMatrix | Matrix as reported by the laboratory. |  |  |  | Yes
Edd | Laboratory sample ID | Lab Identifier; unique identifier for each analysis date and time is preferred. |  | NR |  | Yes
Edd | Laboratory sample date | Date the sample was collected, as reported by the lab, formatted as mm/dd/yyyy. |  | NR
Edd | Date extracted | Date the sample was prepared or extracted in the laboratory, formatted as mm/dd/yyyy. | Where the month and/or day is a value less than 10, a leading zero should be used (e.g., 06/09/2001).
Edd | Date analyzed | Date the sample was analyzed, formatted as mm/dd/yyyy. | Where the month and/or day is a value less than 10, a leading zero should be used (e.g., 06/09/2001). | -9 |  | Yes
Edd | Time analyzed | Time the sample was analyzed. The time should be formatted as hh:mm in 24 hour time.
Edd | Analytical method | Originally reported long analytical method name including SOP number and version
Edd | Preparation method | Preparation method (if available, also include laboratory SOP number, version and general description).
Edd | Other Method | Other relevant methods including cleanups and leachates
Edd | CAS Number | CAS registry number
Edd | Analyte name | Full chemical name |  |  | X | Yes
Edd | Result | Measured result or MDL if undectected (exception: if undected and results between MDL and RL are not evaluated/reported, then RL). | If the result is non-detected, enter a comment in the Study Notes to indicate if a value OTHER than the MDL was entered in the Results field. If unknown, include an appropriate qualifier code. See General Notes for more information. | Enter -9 if unknown |  | Yes
Edd | Detection limit | Method detection limit (MDL) adjusted for dilution and varying sample sizes. | See General Notes for defintion of Detection Limit (MDL). | Enter -9 if unknown
Edd | Reporting limit | Quantitation limit based on low standard adjusted for dilution and varying sample sizes. | See General Notes for defintion of 'Reporting Limit' (RL). | Enter -9 if unknown
Edd | Laboratory qualifiers | Laboratory qualifiers associated with the result. Laboratory qualifier codes are NOT incorporated in the a_qualifier table.
Edd | Analyte type | Code for Analyte Type. | See dicValidValues |  |  | Yes | Yes
Edd | Dilution factor | 1 for undiluted samples; dilution factor for other results. |  | 1 for undiluted samples
Edd | Units | Units of measurement for the Result (e.g., mg/kg, mg/L). |  |  |  | Yes
Edd | Total or dissolved | For aqueous samples, indicate “tot” for total results and “dis” for dissolved fractions. | Use to distinguish total or dissolved results with the same chemical name
Edd | Measurement basis | Measurement basis for the result, as reported by the laboratory. |  |  |  | Yes
Edd | PctMoist | Percent moisture used by the laboratory to derive dry weight results.
Edd | PctSolid | Percent solids used by the laboratory to derive dry weight results.
Edd | QCType | Type of QC sample. | See dicValidValues |  |  | Yes | Yes
Edd | SampleID Orig | For splits, the identifier as provided on the chain-of-custody for the received sample. For composites, a list of all samples included in the composite, separated by commas. Leave blank for all other sample types.
Edd | Instrument ID | A unique identifier specifying the Instrument the analysis was performed on.
Edd | Column ID | An identifier specifying the column used (primarily for GC methods)
Edd | Lab name | Laboratory name or suitable short-form name. |  | Enter Unknown if unknown |  | Yes
Edd | Validation Level | Stores information on the level of data validation that has been completed for the chemistry data, as reported in the source database.
Edd | Validator | Identification of validator
Edd | DV Qualifier | Data validation qualifiers. DV qualifier codes are NOT incorporated in the a_qualifier table.
Edd | Final Qualifier | Final qualifiers as assigned by data validators. Qualifier codes and definitions must be added to the a_qualifiers table. Qualifier codes for non-detected results must include "U". | See General Notes and the 'Populate and Review Qualifier Codes' procedures on the main Template form.
Edd | DV Qualifier Reason | Data validation qualifier reason codes.
Edd | ValNotes | Additional notes provided by validator during data review.
Edd | Client ID | Client identifier from sample label.
Edd | Chem_ID | Unique numeric key from source data for chemistry results. | If this does not exist in the source results, leave Chem_ID null.
Edd | Notes | Additional comments
Bioassay | StudyID | Study identifier |  |  | X | Yes
Bioassay | Station | Station identifier. Do not use leading zeros in this identifier. |  |  | X | Yes
Bioassay | Sample | Sample identifier. Do not use leading zeros in this identifier. | Field replicates should have distinct SampleIDs (add a "D" suffix to the Sample ID; e.g., Samp01D). |  | X | Yes
Bioassay | Field ID | Sample Identifier as reported in the source electronic data. Must match Field ID in a_samplemaster. The entries in this field should allow a linkage back to the source electronic data. | May be up to 50 characters. |  |  | Yes
Bioassay | Dilution | Dilution factor for water or elutriate bioassay tests. | Preferred format is the percent dilution (e.g., "10" for 10% dilution). | 100 (for undiluted or sediment samples) | X | Yes
Bioassay | Negative control (Y or N) | Was the sample the negative control? Enter Y or N |  |  |  | Yes
Bioassay | Reference Station (Y or N) | Was the sample from a reference/background location? Enter Y or N |  |  |  | Yes
Bioassay | Stat (Y or N) | If sample is a negative control or reference, was it used for determining statistical significance? Enter Y or N |  |  |  | Yes
Bioassay | Series | Bioassay test series or batch number used to match the negative control samples to the correct batch. |  | Enter 1 as a default entry | X | Yes
Bioassay | Test Medium | Tested medium or fraction (e.g., sediment, elutriate, pore water) |  |  | X | Yes
Bioassay | Test Species | Species of organism tested |  |  | X | Yes
Bioassay | Test Life Stage | Life history stage at test initiation for organisms used in test (e.g., larvae, juvenile, adult). |  | Enter U if unknown |  | Yes
Bioassay | Test Duration | Provide time and units to indicate the duration of the test (e.g., 72 hours, 10 days) |  |  | X | Yes
Bioassay | Endpoint | Endpoint measured for test (e.g., percent survival, growth, reproduction). | Use percent survival rather than percent mortality. |  | X | Yes
Bioassay | MeanEffect Value | Value for the measured result as a mean of the laboratory replicates |  | Enter -9 if unknown |  | Yes
Bioassay | MeanEffect Unit | Units of measurement for the MeanEffect Value (e.g., grams, percent, etc.). | See dicValidValues |  |  | Yes | Yes
Bioassay | Significance_Ctrl | Statistical significance compared to control sample. | See dicValidValues; See QM Conventions supplemental documentation for information on populating this field. | Leave null as default entry |  |  | Yes
Bioassay | Significance_Ref | Statistical significance compared to reference/background sample. | See dicValidValues; See QM Conventions supplemental documentation for information on populating this field. | Leave null as default entry |  |  | Yes
Bioassay | Significance_Oth | Statistical significance determined using a method other than comparison to control or reference sample. | See dicValidValues; See QM Conventions supplemental documentation for information on populating this field. | Leave null as default entry |  |  | Yes
Bioassay | SigOthType | Code indicating how statistical significance was determined, if significance is captured in the the Significance_Oth field. | See dicValidValues; See QM Conventions supplemental documentation for information on populating this field. | Leave null as default entry |  |  | Yes
Bioassay | Original significance code | Original code used in source file to indicate significance (e.g., T/NT)
Bioassay | Number of Replicates | Number of replicates associated with the measured MeanEffect Value |  | Enter -9 if unknown |  | Yes
Bioassay | Standard Deviation | Standard deviation associated with the measured MeanEffect Value |  | Enter -9 if unknown
Bioassay | LabID | Sample identifer used by the laboratory
Bioassay | Lab Name | Laboratory name or suitable short-form name. |  | Enter Unknown if unknown |  | Yes
Bioassay | Qualifier(s) | Qualifier codes. Add qualifier codes and definitions to a_qualifiers table. See General Notes for additional details.
Bioassay | Comments | Additional comments
Bioassay | Bio_ID | Unique numeric key from source data for bioassay results. | If this does not exist in the source results, leave Bio_ID null.
Bio_reps | StudyID | Study identifier |  |  | X | Yes
Bio_reps | Station | Station identifier. Do not use leading zeros in this identifier. |  |  | X | Yes
Bio_reps | Sample | Sample identifier. Do not use leading zeros in this identifier. | Field replicates should have distinct SampleIDs (add a "D" suffix to the Sample ID; e.g., Samp01D). |  | X | Yes
Bio_reps | Replicate Number | Number identifying replicate beaker in laboratory |  |  | X | Yes
Bio_reps | Series | Bioassay test series or batch number used to match the negative control to the correct batch. |  | Enter 1 as a default entry | X | Yes
Bio_reps | Dilution | Dilution factor for water or elutriate bioassay tests. | Preferred format is the percent dilution (e.g., "10" for 10% dilution). | 100 (for undiluted or sediment samples) | X | Yes
Bio_reps | Negative control (Y or N) | Was the sample the negative control? Enter Y or N |  |  |  | Yes
Bio_reps | Reference Station (Y or N) | Was the sample from a reference/background location? Enter Y or N |  |  |  | Yes
Bio_reps | Test Medium | Tested medium or fraction (e.g., sediment, elutriate, pore water) |  |  | X | Yes
Bio_reps | Test Species | Species of organism tested |  |  | X | Yes
Bio_reps | Test Duration | Provide time and units to indicate the duration of the test (e.g., 72 hours, 10 days) |  |  | X | Yes
Bio_reps | Endpoint | Endpoint measured for test (e.g., percent survival, growth, reproduction). | Use percent survival rather than percent mortality. |  | X | Yes
Bio_reps | Initial | Starting number (eg. # alive at start of test)
Bio_reps | Final | Ending number (eg. # alive at end of test)
Bio_reps | Effect Value | Measured effect value |  | Enter -9 if unknown |  | Yes
Bio_reps | Effect Value Unit | Units of measurement for the Effect Value (e.g., grams, percent, etc.). |  | Enter U if unknown |  | Yes
Bio_reps | Qualifier(s) | Qualifier codes. Add qualifier codes and definitions to a_qualifiers table. See General Notes for additional details.
Bio_reps | Growth Number In Pan | Number in test pan used to determine growth/ind endpoint
Bio_reps | Lab Name | Laboratory name or suitable short-form name. |  | Enter Unknown if unknown |  | Yes
Bio_reps | Comments | Additional comments about the sample replicate
Bio_reps | Bior_ID | Unique numeric key from source data for bioassay replicate results. | If this does not exist in the source results, leave Bior_ID null.
Qualifiers | StudyID | Study identifier |  |  | X | Yes
Qualifiers | Lab Name | Laboratory name or suitable short-form name. |  | Enter Unknown if unknown | X | Yes
Qualifiers | Qualifier | Qualifier code |  |  | X | Yes
Qualifiers | Qualifier Type | Indicates if qualifier is associated with chemistry or bioassay results: B (bioassay), C (chemistry) |  |  | X | Yes
Qualifiers | Description | Definition of Qualifier_I |  |  |  | Yes
Qualifiers | Comments | Additional comments about the qualifier code
ValidConvNote | NoteHeader | Topic of the Note to be used as the header in QM
ValidConvNote | Convention | Description of the standard convention for data handling.
ValidConvNote | StudyNot_Phrase | Standard Study Note phrase used to describe the Convention.
ValidConvNote | SNCode | Code associated with the Convention and StudyNot_Phrase
ValidQualifiers | QUALIFIERS | Qualifier code.
ValidQualifiers | Description | Definition of the qualifier code
ValidQualifiers | Qualifier Type | Indicates if qualifier is associated with chemistry or bioassay results: B (bioassay), C (chemistry)
ValidQualifiers | Notes | Additional comments
ValidValues | Worksheet | Table that contains the field for which a valid value has been defined.
ValidValues | Field | Field for which a valid value has been defined.
ValidValues | Value | List of valid values to be used in the specified Table/Field.
ValidValues | Description | Definition of the valid value code

## ValidValues
Worksheet | Field | Value | Description | Field SubCategory
a_bioassay | MeanEffect Unit | CNT | Count
a_bioassay | MeanEffect Unit | DNA Tail Moment | DNA Tail Moment
a_bioassay | MeanEffect Unit | MG AFDW | milligrams ashfree dry weight
a_bioassay | MeanEffect Unit | MG DW | milligrams dry weight
a_bioassay | MeanEffect Unit | MG/D | milligrams per day
a_bioassay | MeanEffect Unit | MG/IND | Weight per individual
a_bioassay | MeanEffect Unit | MG/ORG/D | mg/Organism/day
a_bioassay | MeanEffect Unit | MG/SMP | Weight per treatment or sample
a_bioassay | MeanEffect Unit | MM | millimeters
a_bioassay | MeanEffect Unit | NR | Not reported or unknown
a_bioassay | MeanEffect Unit | PCT | Percent
a_bioassay | MeanEffect Unit | SU | Standard units
a_bioassay | MeanEffect Unit | YNG/ADT | young/surviving adult
a_bioassay | MeanEffect Unit | YNG/FEM | young/surviving female
a_bioassay | Significance_Ctrl | NA | Not applicable (e.g., Neg Ctrl sample)
a_bioassay | Significance_Ctrl | NC | Not calculated
a_bioassay | Significance_Ctrl | NS | Not significant
a_bioassay | Significance_Ctrl | S | Significant
a_bioassay | Significance_Oth | NA | Not applicable
a_bioassay | Significance_Oth | NC | Not calculated
a_bioassay | Significance_Oth | NS | Not significant
a_bioassay | Significance_Oth | S | Significant
a_bioassay | Significance_ref | NA | Not applicable (e.g., Reference sample)
a_bioassay | Significance_ref | NC | Not calculated
a_bioassay | Significance_ref | NS | Not significant
a_bioassay | Significance_ref | S | Significant
a_bioassay | SigOthType | CMSD | Compared to Control and MSD (e.g., Ctrl_adj <80% for survival endpoints)
a_bioassay | SigOthType | EC50 | EC50 Toxicity Threshold
a_bioassay | SigOthType | MT | Microtox
a_bioassay | SigOthType | NSD | No statistical designations calculated
a_bioassay | SigOthType | RCUN | Control and reference samples both reported but unknown which was used for calculating significance
a_bioassay | SigOthType | S80 | Significance was determined by setting results with Effectval below 80% survival as significant
a_bioassay | SigOthType | UNK | Unknown
a_edd | Analyte type | TIC | Tentatively identified compound
a_edd | Analyte type | TRG | Target analyte
a_edd | Analyte type | XC | Excluded calculated value from the source data
a_edd | QCType | FDUP | Field replicate or duplicate sample
a_edd | QCType | LCMP | Lab composite sample created by compositing separate samples submitted by field team (not for two jars of the same field sample)
a_edd | QCType | LD | Laboratory duplicate result (add number if there is more than one duplicate result e.g., LD, LD2, etc.)
a_edd | QCType | LD1 | Laboratory duplicate result; first of 2 or more
a_edd | QCType | LD2 | Laboratory duplicate; second of 3 or more
a_edd | QCType | LD3 | Laboratory duplicate; third of 4 or more
a_edd | QCType | LD4 | Laboratory duplicate; fourth of 5 or more
a_edd | QCType | LD5 | Laboratory duplicate; fifth of 6 or more
a_edd | QCType | LD6 | Laboratory duplicate; sixth of 7 or more
a_edd | QCType | LD7 | Laboratory duplicate; seventh of 8 or more
a_edd | QCType | LSPL | Lab split: Non-homogenous subsample of sample submitted by field team (e.g., pw from sediment sample)
a_edd | QCType | SMP | Normal field sample
a_edd | QCType | SRD | Serial dilution
a_samplemaster | Associated Parts (Y/N) | N | The composite sample does not have associated information on PART samples.
a_samplemaster | Associated Parts (Y/N) | Y | The composite sample has associated information on PART samples.
a_samplemaster | Collection Type | Cage | Organisms collected in cages
a_samplemaster | Collection Type | Core | Collection by core device
a_samplemaster | Collection Type | Diver | Collection by divers
a_samplemaster | Collection Type | EShock | Electroshocking
a_samplemaster | Collection Type | Floating | Found Floating
a_samplemaster | Collection Type | Grab | Collection by grab
a_samplemaster | Collection Type | HBag | Hanging bag
a_samplemaster | Collection Type | Hook | Collection by hook
a_samplemaster | Collection Type | Net | Net
a_samplemaster | Collection Type | Passive samp | Passive sampler (polyethylene; membrane device, etc)
a_samplemaster | Collection Type | Pump | Collection by pump
a_samplemaster | Collection Type | Seine | Seine net
a_samplemaster | Collection Type | Shovel | Collection with shovel
a_samplemaster | Collection Type | Trap | Trap
a_samplemaster | Collection Type | Trawl | Trawl or tow net
a_samplemaster | Collection Type | UNK | Unknown
a_samplemaster | Depth Ref Point | MLLW | Mean low low water
a_samplemaster | Depth Ref Point | NA | Not applicable
a_samplemaster | Depth Ref Point | SWI | Sediment-water interface
a_samplemaster | Depth Ref Point | UNK | Unknown
a_samplemaster | Depth Ref Point | WS | Water surface (air-water interface with unknown vertical datum)
a_samplemaster | Matrix | DM | Drilling Mud | MATRIX (OTHER)
a_samplemaster | Matrix | FC | Floc | MATRIX (OTHER)
a_samplemaster | Matrix | ON | Oily net | MATRIX (OTHER)
a_samplemaster | Matrix | TB | Tarball | MATRIX (OTHER)
a_samplemaster | Matrix | UN | Unknown or Not Applicable | MATRIX (OTHER)
a_samplemaster | Matrix | WC | Wood chips | MATRIX (OTHER)
a_samplemaster | Matrix | SE | Sediment sample | MATRIX (SED)
a_samplemaster | Matrix | SO | Soil sample | MATRIX (SED)
a_samplemaster | Matrix | TS | Tissue of organism or plasma, blood, or bile sample (see Tisscode for additional information) | MATRIX (TISS)
a_samplemaster | Matrix | DS | Filtered water sample (dissolved fraction) | MATRIX (WAT)
a_samplemaster | Matrix | EL | Elutriate sample (water data associated with sediment sample) | MATRIX (WAT)
a_samplemaster | Matrix | GW | Groundwater sample | MATRIX (WAT)
a_samplemaster | Matrix | LE | Sample collected from liquid that has percolated or seeped through solid or sediment (leachate). Example is sampling near a landfill. | MATRIX (WAT)
a_samplemaster | Matrix | MD | Membrane device (e.g., SPMD) | MATRIX (WAT)
a_samplemaster | Matrix | OL | Oil sample | MATRIX (WAT)
a_samplemaster | Matrix | PT | Particulate sample (remainder from a filtered water sample; filter cake) | MATRIX (WAT)
a_samplemaster | Matrix | PW | Pore or interstitial water sample (water data associated with sediment sample) | MATRIX (WAT)
a_samplemaster | Matrix | RS | Residue sample (filter and particulate matter) | MATRIX (WAT)
a_samplemaster | Matrix | WH | Whole (unfiltered) water sample. May include groundwater, surface/subsurface water. | MATRIX (WAT)
a_samplemaster | Sample Type Code | BCMP | Bioaccumulation composite sample. Could be a laboratory or field bioaccumulation sample.
a_samplemaster | Sample Type Code | BREF | Bioaccumulation reference site sample. For field studies, samples analyzed at Exposure time = 0; for lab studies, samples collected from a reference location.
a_samplemaster | Sample Type Code | BSMP | Bioaccumulation normal sample. Could be a laboratory or field bioaccumulation sample.
a_samplemaster | Sample Type Code | CALC | Calculated sample (see Study notes for details)
a_samplemaster | Sample Type Code | CMPD | Field duplicate of a composite sample (COMP).
a_samplemaster | Sample Type Code | CNEG | Negative control sample.
a_samplemaster | Sample Type Code | COMP | Composite of 2 or more field samples created by field team or sample processing team.
a_samplemaster | Sample Type Code | CREF | Composite sample collected at a reference location.
a_samplemaster | Sample Type Code | FDUP | Field replicate or duplicate sample. A dup/rep of a normal field sample taken at the SAME DATE, SAME PLACE, from the same sample material, and treated the same through all procedures. SampleID is linked with original by adding a "D" suffix.
a_samplemaster | Sample Type Code | FO | Field observation (unpaired)
a_samplemaster | Sample Type Code | ICMP | Intermediate composite sample that will be used to form a super composite sample (SCOM). This code is to be used for intermediate composite samples that have been analyzed.
a_samplemaster | Sample Type Code | ICNA | Intermediate composite sample that will be used to form a super composite sample (SCOM). This code is to be used for intermediate composite samples that have not been analyzed.
a_samplemaster | Sample Type Code | MB | Laboratory Method Blank
a_samplemaster | Sample Type Code | PANA | A sample used in the creation of a composite sample (i.e., part of a composite). This code is to be used for PART samples that have been analyzed.
a_samplemaster | Sample Type Code | PART | A sample used in the creation of a composite sample (i.e., part of a composite). This code is to be used for PART samples that have not been analyzed.
a_samplemaster | Sample Type Code | REF | Reference sample. Field collected sample from probable un-impacted site.
a_samplemaster | Sample Type Code | SCOM | Super composite - composite sample that is comprised of other composite samples.
a_samplemaster | Sample Type Code | SMP | Normal field sample; sample or aliquot collected in the field. Not a quality control sample of any kind.
a_samplemaster | Sample Type Code | SRC | Identified or potential source of contamination
a_samplemaster | Sample Type Code | SRM | Laboratory Standard Reference Material
a_samplemaster | Sample Type Code | UNK | Unknown
a_samptiss | Life History stage | A | Adult
a_samptiss | Life History stage | E | Egg or embryo
a_samptiss | Life History stage | J | Juvenile
a_samptiss | Life History stage | L | Larvae
a_samptiss | Life History stage | NA | Not applicable
a_samptiss | Life History stage | U | Unknown
a_samptiss | Life History stage | Y | Young of Year
a_samptiss | Sex | B | Both
a_samptiss | Sex | F | Female
a_samptiss | Sex | M | Male
a_samptiss | Sex | U | Unknown
a_station | Coords Established | C | Calculated (e.g., if a median location was determined)
a_station | Coords Established | E | Coordinates were estimated based on maps or other information in the source data
a_station | Coords Established | R | Coordinates are reported in the source data
a_station | Coords Established | U | Unknown (e.g., if the lat/longs are 0)
a_station | Hdatum | NAD27 | North American Datumn of 1927
a_station | Hdatum | NAD83 | North American Datum of 1983
a_station | Hdatum | NR | Not reported
a_station | Hdatum | WGS84 | World Geodetic System of 1984
a_station | Vdatum | NAVD8 | North American Vertical Datum of 1988 (NAVD 88)
a_station | Vdatum | UNK | Vertical datum unknown
a_stationxcoord | Geometry Type | Line
a_stationxcoord | Geometry Type | Point
a_stationxcoord | Geometry Type | Polygon
a_stationxcoord | Record Type | Sample
a_stationxcoord | Record Type | Station
a_stationxcoord | Station Type | CTD | CTD sample coordinate where drift of instrument may be a factor
a_stationxcoord | Station Type | SURVEYAREA | Survey area (polygon) where location geometry is available
a_stationxcoord | Station Type | TARGET | Target station coordinate (not reported in Station table)
a_stationxcoord | Station Type | TRAWL | Trawl or transect where location geometry is available
a_stationxcoord | Station Type | TRAWL_A | First coordinate for trawl or sample transect
a_stationxcoord | Station Type | TRAWL_Z | Last coordinate for trawl or sample transect
a_study | Data Source | Academic | Research, University, or other academic studies
a_study | Data Source | ADEM | Alabama Department of Environmental Mangement
a_study | Data Source | BP | Deepwater Horizon BP Database
a_study | Data Source | BPTCP | Bay Protection and Toxic Cleanup Program
a_study | Data Source | CA Bight | California Bight Monitoring Program
a_study | Data Source | CASQO | California Sediment Quality Objective Program
a_study | Data Source | DNREC | Delaware Department of Natural Resources and Environmental Control
a_study | Data Source | DRBC | Delaware River Basin Commission
a_study | Data Source | DWH Response | Deepwater Horizon Response Database
a_study | Data Source | DWH Seafood Safety | Deepwater Horizon Seafood Safety Database
a_study | Data Source | Enviroscience | Enviroscience
a_study | Data Source | EPA | Environmental Protection Agency
a_study | Data Source | GE | General Electric
a_study | Data Source | GeoSyntec | GeoSyntec
a_study | Data Source | GLRI | Data received and processed through the Great Lakes Restoration Initiative Program
a_study | Data Source | GLSed | EPA Great Lakes Program Office (GLNPO) GLSed DB
a_study | Data Source | MDEQ | Michigan Department of Environmental Quality
a_study | Data Source | Mussel Watch | NOAA NS&T Mussel Watch Program
a_study | Data Source | NJDEP | New Jersey Department of Environmental Protection
a_study | Data Source | NOAA | Data provided by NOAA
a_study | Data Source | NOAA NS&T | NOAA National Status and Trends Program
a_study | Data Source | NSI | EPA's National Sediment Inventory
a_study | Data Source | NYSDEC | New York State Department of Environmental Conservation
a_study | Data Source | PSAMP | Puget Sound Ambient Monitoring Program
a_study | Data Source | PSDDA/DMMP | Puget Sound Dredge Disposal Analysis Program/Dredged Material Management Program
a_study | Data Source | SEDTOX | NOAA's Sediment Toxicity Project DB
a_study | Data Source | SFEI RMP | CA SFEI Regional Monitoring Program
a_study | Data Source | Site Data Provider | Typical site provider for CERCLA sites
a_study | Data Source | SLRAOC | St. Louis River Area of Concern DB
a_study | Data Source | Spill Response | Spill Response
a_study | Data Source | TAMS | TAMS Consultants, Inc.
a_study | Data Source | UNK | Unknown
a_study | Data Source | USACE | US Army Corps of Engineers
a_study | Data Source | USFWS | US Fish and Wildlife Service
a_study | Data Source | USGS | United States Geological Survey
a_study | Data Source | WA DOE SEDQUAL/EIM | Washing Department of Ecology SEDQUAL/Environmental Information Management System
a_study | Data Source | WDNR | Wisconsin Department of Natural Resources
a_study | Data Source | Weston | Weston

## Study
StudyID | Study Name | Contact | Data Source | Year_pub | Authors | Title | Source | Filename | Preferred
Required | Required | Required | Required | xx | xx | xx | xx | Required | Required

## StudyNoteCodes
STUDYID | SNCode
Required | Required

## ValidConvNote
NoteHeader | SNCode | StudyNot_Phrase | Convention
BIOASSAY | B1 | <edit placeholder for TESTIDs as appropriate> For TESTID(s) XXXXXXXXXXXX the biomass endpoint was calculated as per the database convention. | Calculating biomass endpoint. See 'QM biomass calc description_20120802.xlsx'
BIOASSAY | B2 | <edit to select appropriate phrase> Bioassay replicate data is included in this submission. ---OR--- Bioassay replicate data is not included in this submission. | The QM convention is to include bioassay replicate data if it is available.
BIOASSAY | B3 | <edit to select appropriate phrase> Based on collection time and geospatial match, it is assumed (but not confirmed) that the chemistry and toxicity samples were synoptically collected (i.e., matched). The same Station and Sample identifiers have been used for the chemistry and toxicity data. ---OR--- The same Station and Sample identifiers have been used for the chemistry and toxicity data. It has been confirmed that the results are from the same sample (homogenized and split). | In general, the QM convention is to presume that chemistry and toxicity results are "matching" based on collection time and geospatial match. Include lack of confirmation in studynotes, where appropriate. More specifically: 1. If it has been confirmed that the chemistry and toxicity results are from the same sample (homogenized and split), then the Station ID AND Sample ID should be the same for the chemistry and toxicity data. There should be only one record for this StationID/SampleID in the associated sample table. 2. If it has NOT been confirmed that the chemistry and toxicity results are from the same sample (homogenized and split), but it seems likely that this is the case, then the Station ID AND Sample ID should be the same, and a comment will be included in the studynot table that it has not been confirmed that these results are actually matching. There should be only one record for this StationID/SampleID in the associated sample table.
CHEMISTRY | C1 | Chemical names in the source data which included unknown, have been coded as Tenatively Identified Compounds (TICs), with Analyte Type = TIC and are retained in the ChemNS (non-standard chemical data) table. | If the chemical name includes 'unknown', it must be identified as a TIC. These results are not stored in the main chemistry database tables, but will be stored in eddchem and ChemNS. Analyte Type = TIC.
CHEMISTRY | C2 | Chemical names in the source data which indicate calculations are retained in the ChemNS (non-standard chemical data) table. | Values that are calculations (reported totals, TEQs) are retained in the Template. These results are not stored in the main database chemistry tables, but will be stored in eddchem and ChemNS.
CHEMISTRY | C3 | <edit to select appropriate phrase and provide details> No dry weight-to-wet weight or wet weight-to-dry weight conversions were required. ---OR--- Wet weight-to-dry weight conversions were required for sediment data. <describe how % moisture/solid values were selected to facilitate the conversion calculation and provide the conversion equation> ---AND/OR--- Dry weight-to-wet weight conversions were required for tissue data. <describe how % moisture/solid values were selected to facilitate the conversion calculation and provide the conversion equation> | Tissue chemistry data were provided on a dry weight basis. Moisture data obtained from NCCOS were used to correct concentrations and DLs to wet weight as described here. In most cases, moisture data were reported for each chemical method used to analyze each sample; this value was used to convert from DW to WW. Labrep=1: Average moisture value, with qualcode identifying the number of method-specific values included. Labrep = M1, M2, etc.: Method-specific moisture value. User will need to match sample/chemical/method with the method-specific moisture value to know which moisture value was used to adjust DW to WW.
CHEMISTRY | C4 | <edit to select appropriate phrase> Removed grain size results that were reported in % passing from original source data so that only % retained results remain. ---OR--- Converted those grain size results reported in % passing to % retained. ---AND/OR--- Removed Total % Sands results in favor of reporting only the subcategories (e.g, % sand, coarse; % sand, medium; % sand fine). ---AND/OR--- From original grain size results reported in terms of seive/phi/microns <edit to select appropriate choice>, converted to the equivalent grain size classifications corresponding to the Wentworth scale (e.g., % gravel, % sand, % silt, etc.). | Convert grainsize data to QM standard fractions. See 'GrainSizeGuide.20140403.xls'
CHEMISTRY | C5 | Rejected results are included in the database and not modified; the associated QUALCODE includes R. | Rejected results are included in the database and not modified; the associated QUALCODE includes 'R'.
CHEMISTRY | C6 | Chemcodes for PCB congeners reflect the BZ numbering system. | The congener data from some labs was provided with analyte names that included two PCB congener naming systems: the BZ numbering system, (Ballschmiter and Zell, 1980) and the IUPAC numbering system. For example, the analyte name "PCB 201 (BZ)/199 (IUPAC)" refers to both synonyms of the same chemical. The QM convention is when unknown numbering is received (e.g., "PCB 201") we assume the BZ numbering system. If analyte names are provided that use both systems, we pick the BZ numbering for consistency in our databases over time.
CHEMISTRY | C7 | In the source file, chemical concentrations for co-eluting PCB congeners were reported as two separate records, and flagged with a C qualifier code. These results were merged into one record, as per the database convention. | When co-eluting PCB congeners are reported in two different records the convention is to modify the results and have only one record. Example -- Original Record 1: Chemcode = PCB012, Conc = 25 ppb, Qual = C Original Record 2: Chemcode = PCB013, Conc = 0 or -9 or null, Qual = C12 Changed Record 1: Chemcode = PCB012_13, Conc = 25 ppb, Qual = C Record 2 is deleted.
CHEMISTRY | C8 | <edit as appropriate based on study-specific data handling decisions> Results with multiple dilution factors were included in the dataset. The preferred result was identified based on database conventions and assigned Lab Rep = 1. | The following instructions apply to situations where there are different dilution factors. If there are multiple analyses and the same dilution factor (ie. test_type initial and reanalysis or reextraction), the reanalysis is generally due to instrument or QC issues and we may need a different decision tree (i.e. evaluating other data flags). If there are two sets of results, you must assign labrep “1” to the preferred result, regardless of initial vs dilution. So the final “sample” may be a combination of initial and dilution results with the same labrep code. Use the following decision tree for determining the “preferred result” amongst multiple dilution results when no validation is performed: - Use the initial/lower dilution result unless it is E flagged i.e. exceeded the calibration range. Occasionally other flags are used (such as S for saturated). - If the initial/lower dilution result is E flagged and the second result is a detection, use the second result. - If it is E flagged and the second result is a non-detect, use the E flagged value. (This sometimes happens when there is a large range of E flagged results and the dilution required to bring the highest concentration inside the calibration range over-dilutes some of the lower concentration E flagged compounds.) THERE ARE CAVEATS AND ADDITIONAL INSTRUCTIONS FOR DEALING WITH DILUTIONS - PLEASE REFER TO DOC FILE: Dilutions_DataTreatment.xlsx
CHEMISTRY | C9 | Dioxin/Furan: Estimated Maximum Possible Concentration (EMPC) was substituted for concentration when indicated by laboratory report and flagged with a J qualifier. | Dioxin/Furan: Estimated Maximum Possible Concentration (EMPC) was substituted for concentration when indicated by laboratory report and flagged with a J qualifier.
QUALIFIERS | Q1 | In the source data, the result_value field was completed with the value from the ‘reporting_detection_limit’ field for non-detected results; this convention was retained in the final database. A U qualifier is assigned to these records. | For non-detected results, the convention is to report the sample-adjusted method detection limit (MDL) in the Result field and a "U" qualifier assigned to the record. When a value OTHER than the MDL is entered in the Results field, this should be stated in the Studynote table. See the Documentation Index for QM standard definitions for MDL, PQL and RL.
QUALIFIERS | Q2 | For non-detected results, the sample-adjusted method detection limit (MDL) is reported in the Result field. A U qualifier is assigned to these records. | For non-detected results, the convention is to report the sample-adjusted method detection limit (MDL) in the Result field and a "U" qualifier assigned to the record. When a value OTHER than the MDL is entered in the Results field, this should be stated in the Studynote table. See the Documentation Index for QM standard definitions for MDL, PQL and RL.
SAMPLES AND REPLICATES | S1 | Total and dissolved (filtered) water fractions measured from the same whole water sample are differentiated by adding an F suffix to the SAMPLEID for the dissolved fraction, and Measurement Basis is set to TO for the whole water sample or DS for the dissolved fraction. | When both total and dissolved (filtered) results are measured for the same water sample (e.g., Total Cadmium, Dissolve Cadmium), the Sample code should be related, but different (i.e., SAMPLE for the total fraction = W001; SAMPLE for the dissolved fraction = W001F). The LabRep field should NOT be used to differentiate total/dissovled results. See page 5 of the 'SampleDefinition_Draft20130107.docx' document (What is a Sample white paper). See Proposed changes for coding water samples_2020xxxx.xlsx
SAMPLES AND REPLICATES | S2 | Upper and Lower Collection depths are unknown, and therefore samples are categorized as sub-surface. ---OR--- Upper and Lower Collection depths are unknown, but since there are associated bioassay results the samples are categorized as surficial to indicate the sample represents the biologically active zone. ---AND/OR--- Bioassay control samples are categorized as surficial samples. | If UDEPTH and LDEPTH are both '-9' (unknown), these samples will be stored in SMPSEDSB, except for (1) chemistry samples associated with matching bioassay results and (2) bioassay control samples, which will be stored in SAMPLE.
SAMPLES AND REPLICATES | S3 | For samples with Upper Collection Depth = 0, the Lower Collection Depth is unknown (entered as -9), AND there is an indication in DEPTHDESC that these are surficial grab samples, these samples are categorized as surficial samples (therefore assuming the sample represents the biologically active zone). | If the UDEPTH is 0 and the LDEPTH is '-9' and there is an indication in DEPTHDESC that these are surficial grab samples, these records will be stored in SAMPLE (so we do assume the sample represented the biologically active zone); otherwise, the samples will be stored in SMPSEDSB.
SAMPLES AND REPLICATES | S4 | This study included samples that were identified as field replicates, but were collected from two different and discrete station locations, as can occur when using GPS equipment with high precision. These samples have been included in the database as separate stations and therefore not assumed to be representing the same location, whether or not that was the original intent. | Parent and field duplicate samples are associated with a single record in the a_station table, especially when using GPS equipment with high precision (e.g., multiple ponar grabs but different sides or ends of a small craft). If the “field duplicates” are collected from two different and discrete station locations (different station coordinates outside of the variability of the navigation equipment), these are coded as separate Stations. QUESTION: If they are coded as separate stations, do we still identify one of the samples as samptype = fdup?
SAMPLES AND REPLICATES | S5 | Suffixes have been added to the SampleID code to create an association of 2 or more samples from one or more collected field samples. For example, porewater samples are coded with the sediment sample code + a PW suffix (e.g., S001 sediment sample and the associated porewater sample is S001PW). Samples that are associated with each other can also be identified in the RelSmpGrp field. (The RelSmpGrp field is not included in the legacy QM database format) | Suffixes added to the standard SampleID code are used to create an association of 2 or more samples from one or more collected field samples. For example: store PW chemistry in smpwat/chemwat. Link the QM SampleID to the related sediment SampleID (if it exists), example as follows: Sed sampleID = S001 PW sampleID = S001PW See 'Incorporating Porewater Samples.docx'
SAMPLES AND REPLICATES | S6 | Suffixes have been added to the SampleID code to create an association of 2 or more samples from one or more collected field samples. For example, tissue samples dissected from the same source organism are associated based on a suffix which indicates a tissue type, such as H for hepatopancreas, and M for muscle (e.g., T001H and T001M). Samples that are associated with each other can also be identified in the RelSmpGrp field. (The RelSmpGrp field is not included in the legacy QM database format) | Suffixes added to the standard SampleID code are used to create an association of 2 or more samples from one or more collected field samples. For example, tissue samples dissected from the same source organism are linked by a suffix which indicates a tissue type, such as H for hepatopancreas, and M for muscle (e.g., T001H and T001M).
SAMPLES AND REPLICATES | S7 | This study includes sediment samples analyzed by the chemical labs that are composites from multiple individual samples. Information about the both the composite sample and the individual component samples are captured in the database, when available. ---OR--- This study includes tissue samples analyzed by the chemical labs that are composites of multiple individual organisms. Information about the both the composite sample and the individual component samples are captured in the database, when available. | If sediment samples analyzed by the chemical labs are based on composites from multiple samples, information about the both the composite sample and the individual component samples are captured in the database, when available. Information on the individual component samples are stored in the sedrep (for sediment samples) and tissrep (for tissue samples) tables.
SAMPLES AND REPLICATES | S8 | For laboratory bioaccumulation results, if both replicate and averaged data is included in the source data, all of the source data provided is reported in the database. | Laboratory accumulation data - If both replicate and averaged data is included in the source data, all the data provided is reported.
SAMPLES AND REPLICATES | S9 | Measurement results for water data did not specify whether these were based on the whole or dissolved fraction, it was assumed that the results are based on the whole water sample the measbasis field was coded with ‘TO’ to designate it as total. | If total/dissolved not specified, assumed measurements were based on the whole sample and enter TO in Measurement Basis

## Station
StudyID | Station | Station description | Area | Latitude | Longitude | Coords Established | HDatum | VDatum | Original StationID | Attribute Name | Attribute Value | Attribute Unit | Comments | Attribute Name 2 | Attribute Value 2 | Attribute Unit 2
Required | Required | xx | xx | Required | Required | Required | Required | Required | xx | xx | xx | xx | xx

## StationXCoords
StudyID | Station | Sample | Field ID | Record Type | Station Type | Original Xtra StationID | Hdatum | Xtra Latitude | Xtra Longitude | Geometry Type | Location Geometry | Geographic File Information | Comments
Required | Required | Required | Required | Required | Required |  |  | Required | Required |  |  |  | xx
StationXCoords

## SampleMaster
StudyID | Station | Sample | Field ID | Matrix | Sample Group | Sample Collection Date (YYYYMMDD) | Sample Collection Time | Collection Type | Upper Collection Depth | Lower Collection Depth | Collection Depth Units | Sample Position | Depth Ref Point | Sample Type Code | Water Depth | Water Depth Unit | Sample Attribute Name | Sample Attribute Value | Sample Attribute Unit | Composite StationID | Composite SampleID | Number in composite | Associated Parts (Y/N) | Notes | Sample Attribute Name 2 | Sample Attribute Unit 2
Required | Required | Required | Required | Required | xx | Required | xx | Required | Required | Required | Required | xx | Required | Required | xx | xx | xx | xx | xx | xx | xx | Required | Required | xx

## SampTiss
StudyID | Station | Sample | Field ID | Species Common | Species Scientific | Lowest Taxa Level | Tissue | Life History stage | Length (cm) | Weight(g) | Sex | Age (yrs) | Notes
Required | Required | Required | Required | Required | xx | Required | Required | Required | xx | xx | Required | xx | xx

## EDD
StudyID | Station | Sample | Lab Rep | Field ID | QCBatch | Project name | Sample delivery group | LabMatrix | Laboratory sample ID | Laboratory sample date | Date extracted | Date analyzed | Time analyzed | Analytical method | Preparation method | Other method | CAS Number | Analyte name | Result | Detection limit | Reporting limit | Laboratory qualifiers | Analyte type | Dilution factor | Units | Total or dissolved | Measurement Basis | PctMoist | PctSolid | QCType | SampleID Orig | Instrument ID | Column ID | Lab name | Validation Level | Validator | DV Qualifier | Final Qualifier | DV Qualifier Reason | ValNotes | Client ID | Chem_ID | Notes
Required | Required | Required | Required | Required | xx | xx | Required | Required | Required | xx | xx | Required | xx | xx | xx | xx | xx | Required | Required | xx | xx | xx | Required | xx | Required | xx | Required | xx | xx | Required | xx | xx | xx | Required | xx | xx | xx | xx | xx | xx | xx | xx | xx

## Qualifiers
StudyID | Lab Name | Qualifier | Qualifier Type | Description | Comments
Required | Required | Required | Required; enter C for qualifier in EDD worksheet; B for qualifier in Bioassay or Bio_Rep worksheets | Required | xx

## Bioassay
StudyID | Station | Sample | Field ID | Dilution | Negative control (Y or N) | Reference Station (Y or N) | Stat (Y or N) | Series | Test Medium | Test Species | Test Life Stage | Test Duration | Endpoint | MeanEffect Value | MeanEffect Unit | Significance_Ctrl | Significance_ref | Significance_Oth | SigOthType | Original significance code | Number of Replicates | Standard Deviation | LabID | Lab Name | Qualifier(s) | Comments | Bio_ID
Required | Required | Required | Required | Required | Required | Required | Required | Required | Required | Required | Required | Required | Required | Required | Required | xx | xx | xx | xx | xx | Required | xx | xx | Required | xx | xx | xx

## Bio_Reps
StudyID | Station | Sample | Replicate Number | Series | Dilution | Negative control (Y or N) | Reference Station (Y or N) | Test Medium | Test Species | Test Duration | Endpoint | Initial | Final | Effect Value | Effect Value Unit | Qualifier(s) | Growth Number In Pan | Lab Name | Comments | Bior_ID
Required | Required | Required | Required | Required | Required | Required | Required | Required | Required | Required | Required | xx | xx | Required | Required | xx | xx | Required | xx | xx

## refQualifiers
Qualifiers | Description | Qualifier Type | Notes
En | <n> replicates identified as an outlier and not included in calculation of the mean. | Bioassay | Replace n with the number of outliers excluded.
G | The number of organisms recovered for survival are not equal to number used to determine growth. | Bioassay
LP | Low power. Test value is low but no significant effect. Sd.pooled > 2*ctrl.sd | Bioassay
N0 | No surviving individuals | Bioassay
NF0 | No surviving females | Bioassay
Nn | <n> replicates had no surviving individuals (N0) or no surviving females (NF0) | Bioassay | Replace n with the number of replicates with no survivors.
NSD | No statistical designations calculated | Bioassay
O | Treatment affected by overstocking organisms in one or more replicates | Bioassay | For replicate results, the qualifier should indicate the number of organisms stocked (e.g., O11 - Replicate is overstocked. 11 organisms stocked instead of 10.)
OP | Outlier present in test or ctrl sample. Sig result based on non-parametric rank test | Bioassay
SM | Statistical significance was modified in the QM database. See study notes. | Bioassay
Xn | Replicate or sample had <n> organism that was pupated or emerged. | Bioassay | Replace n with the number of organisms in the replicate or sample that were pupated or emerged.
B | Analyte was detected in laboratory method blank. | Chem
D | Dilution. Alerts data user to differences between the concentrations reported in the two analyses. | Chem
E | Estimated concentration. Analyte to internal standard ratio exceeds the range of calibration curve. | Chem
I | Estimated maximum possible concentration due to peak interferences. | Chem
J | Estimated concentration. Result is greater than detection limit, but less than reporting limit. | Chem
J- | Estimated on the low side | Chem
J+ | Estimated on the high side | Chem
LD | Lab duplicate. Batch quality control for lab surrogate exceeds upper or lower control limits. | Chem
LS | Lab surrogate. Batch quality control for lab surrogate exceeds upper or lower control limits. | Chem
M | MS/MSD recoveries exceed the upper or lower control limits. | Chem
NSR | Non-standard reporting unit. | Chem
Q | Result was qualitatively confirmed, but not quantified. | Chem
R | Indicates the data are unusable. (Note: the analyte may or may not be present.) | Chem
U | Analyte was not detected at or above the reporting limit. | Chem
X | Estimated value. Analytes co-elution resulted in inability to differentiate different analytes. | Chem